NoTraffic

ATE PC Installation Guide

Software setup procedure for the Automated Test Equipment (ATE) station PC

Version 0.1 (draft) — August 24, 2026

# 1. Overview

This guide describes the software installation procedure for setting up a new ATE (Automated Test Equipment) station PC. It covers installation of National Instruments drivers and software, supporting utilities, the operator interface application, and development tools.

Note: This is a draft. Post-installation configuration steps (e.g. OpenVPN connection profile, software licensing/activation, operator interface configuration) have not yet been provided and are marked as TBD in Section 4. Please update this guide once those details are available.

# 2. Prerequisites

- Windows PC meeting the ATE station hardware requirements.

- Administrator access on the target PC.

- Active internet connection (for online installers) or the installer package copied locally.

- All installer files listed in Section 3, available in a single setup folder.

| # | Item | Instructions |
| --- | --- | --- |
| 1 | Local user account | Log in with the local user .\ATEAdmin, password ATEteam653!@# — use this account to perform the installation. |

Note: Handle this local account password as confidential; do not share this document outside the organization.

# 3. Software Installation

Run the installers in the order listed below. Unless otherwise noted, accept the default installation options and restart the PC if prompted before continuing to the next installer.

## 3.1 National Instruments Software

| # | Item | File Name | Instructions |
| --- | --- | --- | --- |
| 1 | NI-VISA | ni-visa_25.8_online.exe | NI-VISA provides the instrument communication drivers used by test equipment. Install with default components. |
| 2 | NI-DAQmx | ni-daqmx_26.3_online.exe | NI-DAQmx provides drivers for National Instruments data acquisition hardware. Install with default components. |
| 3 | NI TestStand | ni-teststand-2023_23.8_online.exe | NI TestStand is the test sequencing/execution engine used to run ATE test sequences. Install with default components. |

Note: Install the NI software as a group before other applications, since NI TestStand may depend on NI-VISA and NI-DAQmx already being present.

## 3.2 Networking and Runtime Prerequisites

| # | Item | File Name | Instructions |
| --- | --- | --- | --- |
| 1 | OpenVPN | OpenVPN-2.7.4-I001-amd64.msi | This provides secure VPN connectivity for remote access to the ATE station. Install with default options. |
| 2 | Python | python-3.12.0-amd64.exe | Select “Add python.exe to PATH” during installation before clicking Install. Python is required by test scripts and supporting tools used on the ATE station. |

## 3.3 Operator Interface Application

| # | Item | File Name | Instructions |
| --- | --- | --- | --- |
| 1 | Operator Interface | mysetup.exe | This installs the NoTraffic operator interface application used to run and monitor tests on the ATE station. Follow the on-screen prompts to complete installation. |

## 3.4 Development Tools

| # | Item | File Name | Instructions |
| --- | --- | --- | --- |
| 1 | Visual Studio Code | VSCodeUserSetup-x64-1.92.2.exe | VS Code is used for viewing/editing test scripts and configuration files. Recommended: enable “Add to PATH” and “Register as an editor for supported file types” during setup. |

# 4. Post-Installation Configuration (TBD)

The following configuration steps are required after all software above has been installed, but have not yet been documented. Fill in each subsection with the actual procedure.

## 4.1 OpenVPN Connection Setup

| # | Item | Instructions |
| --- | --- | --- |
| 1 | Place the connection profile | Take the .ovpn file received from DevOps (e.g. vpn-data-sync-rds-XX-10.14.0.21.ovpn) and place it in C:\Program Files\OpenVPN\config-auto |
| 2 | Import the profile | Open the OpenVPN GUI, then go to Import → Import file... and select the .ovpn file from config-auto. |

Note: This .ovpn file is unique to a single PC — do not reuse the same file across multiple ATE stations.

- TBD: how to verify the VPN connects successfully.

## 4.2 NI TestStand Activation

After installation, activate NI TestStand using the following account and serial number:

| # | Item | Instructions |
| --- | --- | --- |
| 1 | Username | corpit@notraffic.com |
| 2 | Password | ^9Uwz#HjtO@xu3$u |
| 3 | Serial Number | Enter D11L1071292 in the “Development” field of the activation dialog. |

Note: Handle these credentials as confidential; do not share this document outside the organization.

## 4.3 Operator Interface Configuration

- TBD: initial configuration/login for the operator interface app, station ID setup, or config file paths.

In addition, configure NI TestStand as follows:

| # | Item | Instructions |
| --- | --- | --- |
| 1 | Open example sequence | In the TestStand Sequence Editor, open C:\Users\Public\Documents\TestExe\exampleTemplate 2022.seq |
| 2 | Copy globals | Copy the value of FileGlobals.Info to StationGlobals.Info. |

## 4.4 Python Environment Setup

From the ATE folder, install the required Python packages by running:

pip install -r requirements.txt

## 4.5 VS Code Configuration

- TBD: recommended extensions (e.g. Python extension) or workspace settings for this station.

# 5. Verification

- Confirm all applications launch without error (NI TestStand, operator interface, VS Code).

- Confirm OpenVPN can establish a connection (once Section 4.1 is completed).

- Run a sample/smoke test sequence on the ATE station to confirm end-to-end functionality.

# 6. Revision History

| # | Item | Instructions |
| --- | --- | --- |
| 1 | 0.1 (draft) | Initial draft generated from installer file list; post-install configuration steps pending input from station owner. |